Top of Form

	[image: image1.png]EST. 1828





                                                  
	[image: image2.jpg]



Village of Port Byron Annual Water Quality Report                      



	PORT BYRON

IL1610550


Annual Water Quality Report for the period of      January 1 to December 31, 2024
This report is intended to provide you with important information about your drinking water and the efforts made by the PORT BYRON water system to provide safe drinking water. 
The source of drinking water used by PORT BYRON is Ground Water.

For more information regarding this report contact:
Name:   Kevin Farrell, Certified Water Operator-ROINC

Phone:   309-523-3705
To be informed of the policy decisions affecting the operation of the water utility, please monitor the Port Bryon Village Board Agenda.  Agendas are posted at the Port Byron Village Hall at least 48 hours prior to each Village Board meeting.  Meetings are conducted on the first and third Monday of each month at 6:00 p.m. at the Village Hall at 120 S Main St.
Este informe contiene información muy importante sobre el agua que usted bebe. Tradúzcalo ó hable con alguien que lo entienda bien.
	Source of Drinking Water

The sources of drinking water (both tap water and bottled water) include rivers, lakes, streams, ponds, reservoirs, springs, and groundwater wells. As water travels over the surface of the land or through the ground, it dissolves naturally-occurring minerals and, in some cases, radioactive material, and can pick up substances resulting from the presence of animals or from human activity.

Contaminants that may be present in source water include:

Microbial contaminants, such as viruses and bacteria, which may come from sewage treatment plants, septic systems, agricultural livestock operations and wildlife.

Inorganic contaminants, such as salts and metals, which can be naturally occurring or result from urban storm water runoff, industrial, or domestic wastewater discharges, oil and gas production, mining, or farming.

Pesticides and herbicides, which may come from a variety of sources such as agriculture, urban storm water runoff, and residential uses.

Organic chemical contaminants, including synthetic and volatile organic chemicals, which are by-products of industrial processes and petroleum production, and can also come from gas stations, urban storm water runoff, and septic systems.

Radioactive contaminants, which can be naturally-occurring or be the result of oil and gas production and mining activities.

Drinking water, including bottled water, may reasonably be expected to contain at least small amounts of some contaminants. The presence of contaminants does not necessarily indicate that water poses a health risk. More information about contaminants and potential health effects can be obtained by calling the EPA's Safe Drinking Water Hotline at (800) 426-4791.

	In order to ensure that tap water is safe to drink, EPA prescribes regulations which limit the amount of certain contaminants in water provided by public water systems. FDA regulations establish limits for contaminants in bottled water which must provide the same protection for public health.

Some people may be more vulnerable to contaminants in drinking water than the general population.
Immuno-compromised persons such as persons with cancer undergoing chemotherapy, persons who have undergone organ transplants, people with HIV/AIDS or other immune system disorders, some elderly and infants can be particularly at risk from infections. These people should seek advice about drinking water from their health care providers. EPA/CDC guidelines on appropriate means to lessen the risk of infection by Cryptosporidium and other microbial contaminants are available from the Safe Drinking Water Hotline (800-426-4791).

Lead can cause serious health problems, especially for pregnant women and young children. Lead in drinking water is primarily from materials and components associated with service lines and home plumbing. The drinking supplier is responsible for providing high quality drinking water and removing lead pipes, but cannot control the variety of materials used in plumbing components in your home. You share the responsibility for protecting yourself and your family from the lead in your home plumbing. You can take responsibility by identifying and removing lead materials within your home plumbing and taking steps to reduce your family’s risk. Before drinking tap water, flush your pipes for several minutes by running your tap, taking a shower, doing laundry or a load of dishes. You can also use a filter certified by an American National Standard Institute accredited certifier to reduce lead in drinking water. If you are concerned about lead in your water, you may wish to have your water tested. Information on lead in drinking water, testing methods, and steps you can take to minimize exposure is available from the Safe Drinking Water Hotline or at http://www.epa.gov/safewater/lead. 


	

	Village of Port Byron Annual Water Quality Report
January 1 to December 31, 2024
Please find this year’s Annual Water Quality Report confirming Port Byron’s drinking water is safe and meets USEPA and Illinois drinking water quality standards except where noted below.  Our system pumped & treated over 33,982,000 gallons (33.98 MG), Daily Average 93,101 GPD of water while vigilantly safeguarding our groundwater supply.  We performed numerous chemical & bacteriological tests throughout the year to ensure the highest quality water is provided to you our residents.  
NOTE: As you know, Port Byron has received Violation Notices for high Manganese at our Well 4 location.  Tests showed we consistently ran slightly above the 150 ppb/L, part per billion, which is maximum limit established by the IEPA.  We have been sending out quarterly Public Notices informing you of the health concerns with the Manganese levels.  The Village continues to prepare for a new Water Filtration Project at Well 4.  The EPA has approved the project and we are working towards funding of its construction. 
Source Water Assessment
We want our valued customers to be informed about their water quality.  If you would like to learn more, please feel welcome to attend any of our regularly scheduled meetings.  The source water assessment for our supply has been completed by the Illinois EPA.  If you would like a copy of this information, please stop by City Hall or call our water operator at 309-523-3705.  To view a summary version of the completed Source Water Assessments, including: Importance of Source Water; Susceptibility to Contamination Determination; and documentation/recommendation of Source Water Protection Efforts, you may access the Illinois EPA website at http://www.epa.state.il.us/cgi-bin/wp/swap-fact-sheets.pl.

	

	Source of Water:  Port Byron, based on information obtained in a Well Site Survey published in 1991 by Illinois EPA, several potential sources are located within 1500’of the wells.  The IEPA has determined that the Port Byron Community Water Supply’s source water is not susceptible to contamination.  This determination is based on a number of criteria including, monitoring conducted at the wells; monitoring conducted at the entry points to the distribution system; and available hydrogeological data on the well.  Furthermore, in anticipation of the U.S. EPA’s proposed Ground Water Rule, the IEPA has determined that the Port Byron Community Water Supply is not vulnerable to viral contamination.  This determination is based upon the evaluation of the following criteria during the Vulnerability Waiver Process: the community’s wells are properly constructed with sound integrity and proper siting conditions; a hydraulic barrier exists which should prevent pathogen movement; all potential routes and sanitary defects have been mitigated such that the source water is adequately protected; monitoring data did not indicate a history of disease outbreak; and the sanitary survey of the water supply did not indicate a viral contamination threat.  Because the community wells are constructed in a confined aquifer, which should prevent the movement of pathogens into the wells, well hydraulics were not consider to be a significant factor in the susceptibility determination.  Hence, well hydraulics were not evaluated for this system ground water supply.




	Port Byron 2024 Regulated Contaminants Detected IL1610550

	Lead and Copper

	Definitions:

	Action Level (AL): The concentration of a contaminant which, if exceeded, triggers treatment or other requirements which a water system must follow.  
Action Level Goal (ALG): The level of a contaminant in drinking water below which there is no known or expected risk to health. ALG's allow for a margin of safety.

Copper Range: 28 ug/L (ppb) to 240 ug/L (ppb) 

Lead Range: <1.0 ug/L (ppb) to 3.3 ug/L (ppb)
To obtain a copy of the system's lead tap sampling data: Call Village Hall at 309-787-8530. 

Our Community Water Supply has developed a service line material inventory. To obtain a copy of the system's service line inventory: Call Village Hall at 309-787-8530.  

	Date Sampled:  9/28/2023

	Lead MCLG

Lead Action Level (AL)

Lead 90th Percentile

# Sites Over Lead AL

Copper MCLG

Copper Action Level (AL)

Copper 90th Percentile

# Sites Over Copper AL

Violation

Likely Source of Contamination

0 

15 ppb 

 1.9 ppb 

0

1.3 ppm 

1.3 ppm 

0.24 ppm
0

No
Lead: Corrosion of household plumbing systems; Erosion of natural deposits 

Copper: Erosion of natural deposits; Leaching from wood preservatives; Corriorion of household plumbing




	Water Quality Test Results

	Definitions: The following tables contain scientific terms and measures, some of which may require explanation. 
-Maximum Contaminant Level Goal (MCLG): The level of a contaminant in drinking water below which there is no known or expected risk to health. 

-Avg:  -Regulatory compliance with some MCLs is based on running annual average of monthly samples. 

-Level 1 Assessment: A Level 1 assessment is a study of the water system to identify potential problems and determine (if possible) why total coliform bacteria have been found in our water

-Level 2 Assessment: A Level 2 Assessment is a very detailed study of the water system to identify potential problems and determine (if possible) why an E. coli MCL violation has occurred and/or why total coliform bacteria have been found in our water system on multiple occasions 

 MCLG's allow for a margin of safety.

-Maximum Contaminant Level (MCL): The highest level of a contaminant that is allowed in drinking water. MCL's are set as close to the Maximum Contaminant Level Goal as feasible using the best 
 available treatment technology. 
-Maximum Residual Disinfectant Level Goal (MRDLG): The level of disinfectant in drinking water below which there is no known or expected risk to health. MRDLG's allow for a margin of safety.

-Maximum Residual Disinfectant Level (MRDL): The highest level of disinfectant allowed in drinking water.

 mrem:  - millirems per year (a measure of radiation absorbed by the body)
-ppm:  - parts per million or mg/l: milligrams per liter - or one ounce in 7,350 gallons of water.
-ppb:  - parts per billion or ug/l: micrograms per liter - or one ounce in 7,350,000 gallons of water.na: not applicable.
-Treatment Technique or TT:  A required process intended to reduce the level of a contaminant in drinking water. 
-na:   -not applicable  

Coliform Bacteria
Maximum Contaminant Level Goal

Total Coliform Maximum Contaminant Level 

Highest No. of Positive

Fecal Coliform or E. Coli Maximum Contaminant Level

Total No. of Positive E. Coli or Fecal Samples

Violations

Likely Source of Contaminant

0

0 positive monthly sample
0
0

No

Naturally present in the environment



	Regulated Contaminants
Disinfectants & Disinfection By-Products

Collection Date

Highest Level Detected

Range of Levels Detected

MCLG

MCL

Units

Violation

Likely Source Of Contaminant

Chlorine 
2024
2.4

0.9 - 3

MRDLG=4 

MRDL=4 

ppm 

No

Water additive used to control microbes 

Haloacetic Acids (HAA5) 

2024
6

6 - 6

No Goal for the total

60

ppb

No

By-product of drinking water chlorination 

Total Trihalomethanes (TTHM)
2024
17

16.6 – 16.6

No Goal for the total

80

ppb

No

By-product of drinking water chlorination

Inorganic Contaminants

Collection Date

Highest Level Detected

Range of Levels Detected

MCLG

MCL

Units

Violation

Likely Source Of Contaminant

Arsenic

2024
2.5

2.5 - 2.5

0

10

ppb

No

Erosion of natural deposits; Runoff from orchards; Runoff from glass and electronics production wastes.

Barium 


2024
0.36
0.36 – 0.36 

2 

2 

ppm 

No 

Discharge of drilling wastes; Discharge from metal refineries; Erosion of natural deposits 

2024
ppb 

No 

Discharge from steel and pulp mills; Erosion of natural deposits 

Fluoride 


2024
0.518
0.518 – 0.518
4 

4.0 

ppm 

No 

Erosion of natural deposits; Water additive which promotes strong teeth; Fertilizer discharge 

Iron

2024
1.1

1.1 – 1.1

1.0

ppm

No

Erosion from naturally occurring deposits

Manganese

2024
240

32 - 350

150

150

ppb

Yes

Erosion from naturally occurring deposits



	Nitrate (As Nitrogen) 


2024
0.03
0 – 0.03
10 

10 

ppm 

No 

Runoff from fertilizer use; Leaching from septic tanks, sewage; Erosion of natural deposits 

Selenium 
2017
6.3
0 – 6.3
50 

50 

ppb 

No 

Erosion of natural deposits 

Sodium

2024
25
25 - 25
ppm

No

Erosion of naturally occurring deposits; used in water softener regeneration

ppm 

No 

Discharge from petroleum and metal refineries; Erosion of natural deposits 

Radioactive Contaminants

Collection Date

Highest Level Detected

Range of Levels Detected

MCLG

MCL

Units

Violation

Likely Source Of Contaminant

Combined Radium 226/228
11/17/2020
1.40
1.29 - 1.40
0 

5 

pCi/L 

No 

Erosion of natural deposits 

Gross Radium excluding radon and uranium

2021
1.41
1.16 – 1.41
0

15

pCi/L

No

Erosion of natural deposits

Violation Summary Table

The following table(s) lists all violations that occurred during 2024.  We included a brief summary of the actions we took following notification of the violation

Port Byron Public Water Supply received Quarterly Sampling Violations for Manganese in 2024 at their Well 4 location.  

Contaminant or Program
Violation Type
Violation Duration

Start Date – End Date
Violation Explanation

MANGANESE
MCL
Q1  1/1/24 – 3/31/24
Water samples showed that the amount of this contaminant I our drinking water was above its standard (called maximum contaminant level and abbreviated MCL) for the period indicated  
Health Effects (if applicable)

Infants (babies under one year old) may develop learning and behavior problems if they drink water with high levels of manganese.  Children and adults who drink water with high levels of manganese for a long time may have problems with memory, attention and motor skills. 
Actions we took:

Quarterly Sampling to monitor for Manganese at the 3 Wells and 2 Water Treatment Plants.  Issued Public Notice as required

Contaminant or Program
Violation Type
Violation Duration

Start Date – End Date
Violation Explanation

MANGANESE
MCL
Q2  4/1/24 – 6/30/24
Water samples showed that the amount of this contaminant I our drinking water was above its standard (called maximum contaminant level and abbreviated MCL) for the period indicated  
Health Effects (if applicable)

Infants (babies under one year old) may develop learning and behavior problems if they drink water with high levels of manganese.  Children and adults who drink water with high levels of manganese for a long time may have problems with memory, attention and motor skills. 
Actions we took:

Quarterly Sampling to monitor for Manganese at the 3 Wells and 2 Water Treatment Plants.  Issued Public Notice as required




	Contaminant or Program
	Violation Type
	Violation Duration

Start Date – End Date
	Violation Explanation



	MANGANESE
	MCL
	Q3  7/1/24 – 9/30/24
	Water samples showed that the amount of this contaminant I our drinking water was above its standard (called maximum contaminant level and abbreviated MCL) for the period indicated  

	Health Effects (if applicable)
	Infants (babies under one year old) may develop learning and behavior problems if they drink water with high levels of manganese.  Children and adults who drink water with high levels of manganese for a long time may have problems with memory, attention and motor skills. 

	Actions we took:
	Quarterly Sampling to monitor for Manganese at the 3 Wells and 2 Water Treatment Plants.  Issued Public Notice as required

	Contaminant or Program
	Violation Type
	Violation Duration

Start Date – End Date
	Violation Explanation



	MANGANESE
	MCL
	Q4  10/1/24 – 12/31/24
	Water samples showed that the amount of this contaminant I our drinking water was above its standard (called maximum contaminant level and abbreviated MCL) for the period indicated  

	Health Effects (if applicable)
	Infants (babies under one year old) may develop learning and behavior problems if they drink water with high levels of manganese.  Children and adults who drink water with high levels of manganese for a long time may have problems with memory, attention and motor skills. 

	Actions we took:
	Quarterly Sampling to monitor for Manganese at the 3 Wells and 2 Water Treatment Plants.  Issued Public Notice as required

	Please Note: The Village has received approval from the EPA for the construction of Manganese Filtration Equipment and a Wastewater Forcemain for treatment of the removed manganese.  Funding options are being pursued.  The Village will continue to keep you informed.     


	Consumer Confidence Rule

	The Consumer Confidence Rule requires community water systems to prepare and provide to their customers annual Consumer Confidence reports on the quality of the water delivered to the systems. 

	

	Violation Type
	Violation Begins
	Violation Ends
	Violation Explanation


	CCR ADEQUACY / AVAILABILITY / CONTENT

	7/1/2023
	3/3/2024
	We failed to provide to you, our drinking water customers an annual report that adequately informed you about the quality of our drinking water and the risks from exposure to contaminants detected in your drinking water.

  

	CCR ADEQUACY / AVAILABILITY / CONTENT


	7/1/2024
	2024
	We failed to provide to you, our drinking water customers an annual report that adequately informed you about the quality of our drinking water and the risks from exposure to contaminants detected in your drinking water.

  


	Statement of Corrective Actions



	Moving forward we will be include information concerning the Manganese violations and corrective actions that were taken to address the higher levels of Manganese.



�








2

