VILLAGE of PORT BYRON

Gas Piping Affidavit

For gas meter activation, the licensed contractor responsible for the gas pipe installation

shall connect to the meter outlet valve with galvanized pipe and pressure test the gas pipingsystem in the structure. The completed affidavit together with the normal visual inspection by the Village will be required before Mid-American Energy is authorized to unlock and turn on the riser valve.

Questions? Call 309.523.3705

SERVICE ADDRESS__________________________________________________

OWNER NAME:________________________________________________________

CONTRACTOR NAME: _________________________________________________

ADDRESS:______________________________________________________

PHONE NUMBER & EMAIL: ____________________________________________

By signing, I do hereby attest that all gas pipe pressure testing and certification has been performed in conformance with the 2021 IFGC 406.4 through 406.5.2.

Signed:_____________________________________DATE_____ /______/_______

DATE OF INSPECTION: ______________________________MEC #_______________

By Village of Port Byron __________________________Date_____/ _____/________

DATE MID-AMERICAN ENERGY NOTIFIED TO SET METER:____________________